## Slide 1
1
Contalbrigo M.
INFN Groups and eRD14
INFN within eRD14 Consortium
INFN-FE
CLAS12 RICH
INFN-LNF
CLAS12 RICH
INFN-RM1
HERMES RICH
Hall-A Tracking
INFN-CT
Hall-A HCAL
6m
EIC R&D, 30 Jan 2020, Bologna

## Slide 2
2
Contalbrigo M.
Aeronautic technology for structure
to maximize lightness and stiffness. Trapezoid of composite materials: CFRP inside acceptance, Aluminum outside
Carbon Fiber Mirrors (spherical)
to maximize lightness and stiffness. Consolidate technology (HERMES, AMS, LHCb) but ~ 30 % material budget reduction
EIC R&D, 30 Jan 2020, Bologna
RICH Components
Notes: Immagine electronic panel e scheda ottica

## Slide 3
3
Contalbrigo M.
World leading transparency
At such large n and volumes
Glass-Skin Mirrors (planar)
Innovative technology never used in nuclear experiments.
1.5 mm outside, 0.7 mm inside acceptance
~ 1/5 cost for squared meter vs CFRP
Large refractive index aerogel radiator
Tiles up to 20x20x3 cm2 at n=1.05.
EIC R&D, 30 Jan 2020, Bologna
RICH Components
Notes: Immagine electronic panel e scheda ottica

## Slide 4
4
80 H8500 + 350 H12700
< 1 cm spatial resolution
< 1 ns time resolution
Compatible with the low torus fringe field
Average MA-PMT gain ~ 2.7 106
Corresponds to SPE ~ 400 fC
✓ 64 6x6 mm2 pixels cost effective device
✓ High sensitivity on VIS towards UV light
✓ Mature and reliable technology
✓ Large Area (5x5 cm2)
✓ High packing density (89 %)
✓ Fast response
✓ Expensive technology
~ 1 m2 active surface
EIC R&D, 30 Jan 2020, Bologna
Photo-sensor: MA-PMT
Notes: Dire meglio chi fa cosa.

## Slide 5
5
Contalbrigo M.
Cooled SiPM as
good as PMTs
Photo-sensor: SiPM
SiPMs
✓ Mass production technology
✓ Photon counting
✓ Excellent time resolution
✓ Compatible with magnetic field
✓ High dark rate
✓ Low radiation tolerance
EIC R&D, 30 Jan 2020, Bologna
Notes: Immagine electronic panel e scheda ottica

## Slide 6
6
Contalbrigo M.
Single-photon capability after irradiation ?
S12572 standard technology
S13360 trench technology
Enea
JLab
S13360 Before Irradiation
S12572
S13360 After Irradiation
S12572 (few CLAS years)
EIC R&D, 30 Jan 2020, Bologna
Photo-sensor: SiPM

## Slide 7
7
Compact (matches sensor area)
Modular Front-End (Mechanical adapter, ASIC, FPGA)
Scalable fiber optic DAQ (TCP/IP or SSP)
Tessellated (common HV, LV and optical fiber)
Applications:
- CLAS12 RICH
- EIC R&D
- Gluex DIRC
- SOLID
- Medical Imaging
- Homeland Security
HV
LV
Optical
Fiber
Modular Readout Electronics
SSP Back-end
Constant threshold discrimination
1 ns FPGA timestamp (clock distribution driven)
Contalbrigo M.
EIC R&D, 30 Jan 2020, Bologna
Notes: Immagine electronic panel e scheda ottica

## Slide 8
8
Contalbrigo M.
Analog: Charge (1 fC)
Digital: Time (1 ns)
Trigger latency (8 ms)
Optical ethernet (2.5 Gbps)
Trigger: external
internal
self
On-board pulser
Contalbrigo M.
Charge
Test
Test pulse
Slow shaper
Slow shaper
Digital pulse
Linear response
Multiplexed readout
Limited holding time delays
Used for calibrations
EIC R&D, 30 Jan 2020, Bologna
Front-End Electronics
Notes: Aggiungere range di validita’ per fattorizzazione GPDs

## Slide 9
9
Multiplexed readout up to 50 kHz
High resolution SPE spectrum
Viable for efficiency and gain monitors
In conjunction with timing, allows the
study of PMT discharge and cross-talk
Contalbrigo M.
Gain
EIC R&D, 30 Jan 2020, Bologna
ADC Charge Measurement
Notes: Dire meglio chi fa cosa.

## Slide 10
10
Contalbrigo M.
Analog: Charge (1 fC)
Digital: Time (1 ns)
Trigger latency (8 ms)
Optical ethernet (2.5 Gbps)
Trigger: external
internal
self
On-board pulser
Contalbrigo M.
Start time
Stop time
Test
Test pulse
Slow shaper
Slow shaper
Digital pulse
Digital response
Working in saturated regime
64 parallel channel readout
8 ms FIFO and delays
1 ns time resolution
EIC R&D, 30 Jan 2020, Bologna
Front-End Electronics
Notes: Aggiungere range di validita’ per fattorizzazione GPDs

## Slide 11
11
Pedestal rms as seen by a test-point
As seen by RICH readout
During Acceptance tests
During Internal Pulser Calibration
Discrimination down to 20 fC, i.e. few % of SPE, allows sensor characterization
Contalbrigo M.
EIC R&D, 30 Jan 2020, Bologna
TDC Digital Readout
Notes: Vedere presentazione Matteo

## Slide 12
12
Sensor
Electronic
Gain x 4
THR ~ 1/80 SPE
Signal
Cross-talk
Sampling time
Contalbrigo M.
EIC R&D, 30 Jan 2020, Bologna
Optical and Electronics Cross-Talk
Notes: Dire meglio chi fa cosa.

## Slide 13
Threshold
Eff. ratio
0 0.5 1 2 4
Eff. ratio
Maroc
Gain
Relative efficiency map
Relative gain map
x ¼
x ½ MAROC
x 1 GAIN
x 2
x 4
13
Contalbrigo M.
EIC R&D, 30 Jan 2020, Bologna
Single Photon Discrimination
Notes: Mettere relazione con blue luminosity ?

## Slide 14
14
Contalbrigo M.
eRD14 Consortium: An integrated program for
particle identification at a future EIC detector
barrel: A high-performance DIRC
p/k separation up to ~ 6 GeV/c DIRC
h-endcap: A RICH with two radiators (gas+aerogel)
p/k separation up to ~ 50 GeV/c dRICH
e-endcap: A compact and projective aerogel RICH
p/k separation up to ~ 10 GeV/c mRICH
TOF: possible to cover lower momenta
Photosensors & electronics: parallel development
to match the needs of the next generation devices
Hadron Identification @ EIC
EIC R&D, 30 Jan 2020, Bologna

## Slide 15
15
Contalbrigo M.
E-endcap mRICH @ EIC
Fresnel lens focusing aerogel detector concept
EIC R&D, 30 Jan 2020, Bologna
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 16
16
Contalbrigo M.
Compact and modular RICH independent elements
E-endcap mRICH @ EIC
3s p/k separation
 2  10 GeV/c
Aerogel
Fresnel lens
Sensor plane
10 cm
20 cm
EIC R&D, 30 Jan 2020, Bologna
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 17
17
Contalbrigo M.
  Extended momentum range
Proposed configuration fitting the spectrometer constraints
(evaluated by detailed GEANT4 simulations)
  -- dual radiator RICH: aerogel and CxFy gas
  -- focusing mirror
  -- 6 open sectors
  -- curved detector surface
3s p/k separation
 2  50 GeV/c
H-endcap dRICH @ EIC
EIC R&D, 30 Jan 2020, Bologna
Notes: Dire che Alessio deve arrivare a definire il prototipo, vedere ultimi aggiornamenti

## Slide 18
18
Contalbrigo M.
Dual Radiator RICHes
EIC R&D, 30 Jan 2020, Bologna
Notes: Dire che Alessio deve arrivare a definire il prototipo, vedere ultimi aggiornamenti

## Slide 19
Aerogel Conf.
Gas Exchange
Commercial vacuum technology for safety and cost effectiveness
Overlapping rings for parallel beam particles
19
dRICH Prototype Design
1500 mm
Contalbrigo M.
EIC R&D, 30 Jan 2020, Bologna
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 20
20
dRICH Prototype Performance
Filters to study and
control chromatic
dispersion
Aerogel
Gas
(2.9)
(0.5)
(0.5)
(0.8)
(1.2)
(0.5)
Montecarlo simulation
@EIC
@EIC
Contalbrigo M.
EIC R&D, 30 Jan 2020, Bologna
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 21
EIC Detector Environment
21
Contalbrigo M.
Contalbrigo M.
Neutron Fluence
(courtesy of A. Kiselev)
Moderate except for
very forward regions
Reference value ~ 10 11 neq/cm2
for several years at max lumi (1034)
Magnetic Field
~ 1 T order of magnitude
Detector orientation to be tuned
SiPM: PET study up to 7 T
10.1109/NSSMIC.2008.4774097
dRICH
sensor
EIC R&D, 30 Jan 2020, Bologna
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 22
22
Readout Independent element
for flexibility: supports various
detectors with possible integrated cooling
and streaming readout
Reference:
MAROC (Discriminator) + SSP/VSX (VME)
Dedicated:
SiREAD (Sampling) + SSP/Ethernet
Sensors Reference B-field tolerant + Robust/Compact/Cost-effective:
MA-PMTs MCP-PMTs (LAPPDs) SiPMs
Sensor and Readout
Contalbrigo M.
EIC R&D, 30 Jan 2020, Bologna
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 23
M. Calvi et al.
NIMA 922 (2019) 243
I. Balossino et al.
NIMA 876 (2017) 89
T. Tsang et al.
JINST 11 (2016) P12002
T= 25 C
109 neq cm2
Annealing at 250 oC
T= 0 C
few 109 neq cm2
SiPM Radiation Tolerance
23
Contalbrigo M.
Contalbrigo M.
≥ 1011 neq cm2
EIC R&D, 30 Jan 2020, Bologna
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 24
Pixel #
Pixel #
Peltier cell cooling
Down to -30o in N2
24
Contalbrigo M.
Contalbrigo M.
SiPM Option
Viable solution with cooling
EIC R&D, 30 Jan 2020, Bologna
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 25
25
Contalbrigo M.
Contalbrigo M.
SiPM Signal Discrimination
EIC R&D, 30 Jan 2020, Bologna
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 26
SiPM Radiation Tolerance Investigation
26
Contalbrigo M.
Contalbrigo M.
SiPMs with high cell density and
fast recovery time can operate up
to 3*1012 neutrons/cm2
(gain change is< 25%).
Yu. Musienko @ DIRC2019
General trend is that SiPMs with high
VB value have faster dark current
reduction with the temperature
+ Low/uniform field
+ Entrance window (annealing)
+ Packaging (DT, cooling)
+ ……
EIC R&D, 30 Jan 2020, Bologna
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 27
27
Contalbrigo M.
Optical ethernet (2.5 Gbps)
Small setups:
TCP/IP
Optical bridge / PC Desktop
Full experiment:
SSP protocol
SSP board / VSX crate
Next:
Ethernet Switches
Contalbrigo M.
SSP board / VSX crate
2 RICH sectors ~ 50 k channels
Optical bridge / PC Desktop
Few FPGA units ~ 500 channels
RICH Back-End Electronics
EIC R&D, 30 Jan 2020, Bologna
Notes: Aggiungere range di validita’ per fattorizzazione GPDs

## Slide 28
Laser head +
diffuser
MAPMT holder
JLab
632 nm picosecond pulsed laser light
Light diffuser to illuminate the whole MAPMT surface
Standardized system with CLAS12 electronics
H8500 6x6 mm2 pixel sensor so far
INFN
632 nm and 407 nm picosecond pulsed laser light
Light concentrator to scan the sensor surface
Flexible layout supporting various sensors and
Front-End electronics
Detailed characterization
Sensors: gain, efficiency, cross-talk, radiation tolerance
Electronics: gain, cross-talk, thresholds, time resolution
Laser head +
collimator
MAPMT holder
Pulsed Laser Test Benches
28
Contalbrigo M.
Contalbrigo M.
EIC R&D, 30 Jan 2020, Bologna
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 29
Surface map by laser setup vs touch machine
Spectrophotometer Characterization station
Controlled storage
Aerogel Test Laboratory
29
Contalbrigo M.
Contalbrigo M.
Existing facility to study detailed aerogel optical properties
(refractive index, surface planarity, forward scattering)
safe handling and Interplay with gas radiator
EIC R&D, 30 Jan 2020, Bologna
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 30
Mirror Test Laboratory
30
Contalbrigo M.
Contalbrigo M.
Existing facility to study detailed mirror optical properties
(surface map, radius of curvature, reflectivity)
Reflectivity
Planarity
Shack-Hartmann: Aberrations
Point Image: Alignment
EIC R&D, 30 Jan 2020, Bologna
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 31
S.A.Pereira et al, Eur. Phys. J. A (2016) 52: 23
31
Contalbrigo M.
GEM chamber
Goal:
Separation
up to 8 GeV/c
Front
Back
CLAS12 RICH Prototype @ CERN T9
EIC R&D, 30 Jan 2020, Bologna

## Slide 32
32
Contalbrigo M.
mRICH Prototype @ Fermilab BTF
EIC R&D, 30 Jan 2020, Bologna
120 GeV proton pencil beam
1-100 GeV hadron wide beam
2016 and 2018 test beams
Notes: Mettere il Lattice di Ji ?

## Slide 33
33
Contalbrigo M.
eRD14 Electronics
EIC R&D, 30 Jan 2020, Bologna
Notes: Mettere il Lattice di Ji ?

## Slide 34
34
Contalbrigo M.
SiREAD
EIC R&D, 30 Jan 2020, Bologna
Notes: Mettere il Lattice di Ji ?

## Slide 35
35
Contalbrigo M.
SiREAD
EIC R&D, 30 Jan 2020, Bologna
Notes: Mettere il Lattice di Ji ?

## Slide 36
36
Contalbrigo M.
Spares
EIC R&D, 30 Jan 2020, Bologna
Notes: Mettere il Lattice di Ji ?

## Slide 37
37
Contalbrigo M.
Contalbrigo M.
New Radiator Materials (eRD6-SBU)
QEIC, 6th January 2020, IIT Bombay - India
Transformation optics yield:
Method: use anisotropic media (meta-materials) to produce
small forward F=1.0005 and large transverse G=10 optical stretch factors
Aim: find radiator medium that combines
properties of gas and aerogel
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 38
38
Contalbrigo M.
Contalbrigo M.
New Photocathode Materials (eRD6-INFN)
QEIC, 6th January 2020, IIT Bombay - India
Aim: robust alternative to CsI for gaseous detectors
Method: Hydrogenate diamond film obtained with spray technique using nano powders
47 % (!)
L.Velardi, A.Valentini, G.Cicala al.,
Diamond & Related Materials 76 (2017) 1
To be matched with a
windowless thick GEM-MicroMegas
hybrid gaseous detector
with miniaturized pad size
Notes: Fare una immagine del PMT sulla risoluzione