## Slide 1
dRICH Test-Beam
1
M. Contalbrigo
dRICH Meeting, July 8th, 2026
PS (20-180 GeV/c)
SPS (2-11 GeV/c)
Significant effort to cover 1 month of activity. Distribute partecipation. Nice bootcamp for new/young collaborators.
Extra

## Slide 2
Real-Scale Prototype
2
SPS – 1.5 week
PS – 2 weeks
M. Contalbrigo
dRICH Meeting, July 8th, 2026

## Slide 3
Real-Components at Test-Beam
3
Aerogel demonstrator
M. Contalbrigo
SiPM detector box Carbon fiber mirror
Quartz window and curved active surface mockup
dRICH Meeting, July 8th, 2026

## Slide 4
Gas System at Test-Beam
4
Validation of the C2F6 gas system concept
C0-C10 membranes
Successful gas operations:
Air --> N2 flushing --> CO2 filling --> C2F6 filling
Succesfull purging and recovery of C2F6
Re-use of the same gas in the two test-beams
Gas panel
Recovery
M. Contalbrigo
Dp vs atmosphere
Gas weight
CO2 purging
Real-scale volume is 2 m3 (1/6 of dRICH):
a full gas-system is required
dRICH Meeting, July 8th, 2026

## Slide 5
Tracking at Test-Beam
5
M. Contalbrigo
Beam track information propagated to the aerogel mid-point
Front and back traking for
- multi-track events
- multiple-scattering study
- beam divergence study
dRICH Meeting, July 8th, 2026

## Slide 6
Slow Control at Test-Beam
6
M. Contalbrigo
H/T
CO2
T
T
H/T
H/T
T
T
T
T
H/T
Open
Monitor of temperature gradients,
gas contaminants (H2O, CO2) and
gas stratification / mixing
dRICH Meeting, July 8th, 2026

## Slide 7
Calibration at Test-Beam
7
Done several runs with different bias overvoltage and thresholds.
Single (leading) time vs time-over-threshold readout.
Tested a prototype of fiber distributor for a pico-second pulsed laser
to accomplish an online time calibration.
M. Contalbrigo
dRICH Meeting, July 8th, 2026

## Slide 8
Highlights at Test-Beam
8
M. Contalbrigo
Highlight SPS: performance (MaPMTs) in the ball-park of ePIC simulations
Highlight PS: 2% kaons ID on aerogel after tagging pions/electrons with gas
Before tagging
After tagging
Projection
Beam | N. photoelectrons | Singl-photon resolution | Track resolution
180 GeV/c proton | 20 | 1.3 | 0.45
ePIC | 18 | 1.2 | 0.3
PRELIMINARY
PRELIMINARY
dRICH Meeting, July 8th, 2026

## Slide 9
Conclusions
9
Vibrant community engaged in realizing and running an almost complete experiment mimicking ePIC
Successful test-beam collecting all the ongoing developments
CO2 at 40 GeV/c
C2F6 at 180 GeV/c
C2F6 at 180 GeV/c
Aerogel at 10 GeV/c
M. Contalbrigo
dRICH Meeting, July 8th, 2026