## calculation
SNR calculation
detail material | Al
detail density, ρD (g/cm3) | 2.7
detail thickness, tD (mm) | 0.3
detail diameter, D (mm) | 0.3
detail area, AD (mm2)
background material | PMMA
background density, ρBG (g/cm3) | 1.19
background thickness, tBG (cm) | 4.5
background side, L (cm) | 15
focal spot size, a (mm) | 0.6
focus-to-object distance, p (cm) | 58
focus-to-detector distance, d=p+q (cm) | 60
object Magnification factor, M=d/p
focus magnification factor, (M-1)
GOS density (g/cm3) | 7.34
GOS thickness (um) | 10
GOS mass thickness (mg/cm2)
GOS LSF σ (mm) | 0.16
sampling area (mm2)
detail area on the image plane, AD,i (mm2)
SNR correction due to detail enlargement on the image
scatter-to-primary ratio, SPR | 0.422 | depends on kVp, X-ray field size, phantom thickness and grid (see Aichinger data)
SNR correction due to SPR
anodic current, I (mA)
exposure time, t (s)
detail contrast, cD
background photons interacting in a detail area on GOS
noise contrast
SNRideal
SNR
input (filtered) spectrum
|  | E [keV] | Φ [ph/mm2] | (μ/ρ)PMMA [cm2/g] | (μ/ρ)Al [cm2/g] | ΦBG [ph/mm2] | ΦD [ph/mm2] | (μ/ρ)GOS [cm2/g] | (μen/ρ)GOS [cm2/g] | NBG,D,int [ph] | ND,D,int [ph] | EdepBG,D [keV] | EdepD,D [keV]
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60

## spectrum_W_60kVp
filtration
material | Al
thickness tF (mm) | 1
density ρ (g/cm3) | 2.7
E [keV] | Φ [ph/(cm2 mAs keV)] @ 1 m | (μ/ρ)filter [cm2/g] | Φfiltered [ph/(cm2 mAs keV)] @ 1 m
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60

## spectrum_W_35kVp
filtration
material | Rh
thickness tF (mm) | 0.025
density ρ (g/cm3) | 12.45
E [keV] | Φ [ph/(cm2 mAs keV)] @ 1 m | (μ/ρ)filter [cm2/g] | Φfiltered [ph/(cm2 mAs keV)] @ 1 m
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60

## spectrum_Mo_28kVp
filtration
material | Mo
thickness tF (mm) | 0 | spectrum already filtered with 30 um of Mo
density ρ (g/cm3) | 10.28
E [keV] | Φ [ph/(cm2 mAs keV)] @ 1 m | (μ/ρ)filter [cm2/g] | Φfiltered [ph/(cm2 mAs keV)] @ 1 m
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60

## murho_Mo
E [keV] | μ/ρ [cm2/g]

## murho_Rh
E [keV] | μ/ρ [cm2/g]

## murho_PMMA
E [keV] | μ/ρ [cm2/g]

## murho_Al
E [keV] | μ/ρ [cm2/g]

## murho_GOS
E [keV] | μ/ρ [cm2/g] | μen/ρ [cm2/g]