## Slide 1
RICH
Detector Status
M. Contalbrigo
INFN Ferrara
Hall-B Meeting
11 September 2017
Notes: Dire meglio chi fa cosa.

## Slide 2
2
Contalbrigo M.
CLAS12 RICH
Cherenkov angle (mrad)
7 Gev/c
6 Gev/c
8 Gev/c
p
k
INSTITUTIONS
INFN (Italy) Bari, Ferrara, Genova, L.Frascati, Roma/ISS
Jefferson Lab (Newport News, USA)
Argonne National Lab (Argonne, USA)
Duquesne University (Pittsburgh, USA)
George Washington University (USA)
Glasgow University (Glasgow, UK)
Kyungpook National University, (Daegu, Korea)
University of Connecticut (Storrs, USA)
UTFSM (Valparaiso, Chile)
p
Prototype results:
HALL-B Meeting, 11 September 2017, JLab
Notes: Vanno messi studi innovativi e pubblicazioni

## Slide 3
3
Contalbrigo M.
RICH Design
Goal: separate kaons from pions and protons in the momentum range 3-8 GeV/c
Aerogel radiator to match the momentum
Hybrid-optic to minimize the instrumented area
Working with VIS and near-UV photons (MAPMTs or SiPMs)
HALL-B Meeting, 11 September 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 4
4
Entrance bottom
Entrance top
Electronic Panel
Contalbrigo M.
Mechanic Assembling
✓ External RICH vessel assembled in EEL-124
✓ Entrance, exit and electronic panels ready
✓ Assembling tools ready
✓ Installation tool being produced
Thanks to DSG group!
HALL-B Meeting, 11 September 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 5
Aerogel
✓ 3 cm: minimal quantity @ JLab
5
Contalbrigo M.
Goal: 50 mm
2 cm
3 cm
✓ 2 cm: all squared tiles @ JLab
2 cm corner tiles ready for shipment
✓ additional spares being produced
Most critical parameter: scattering length
HALL-B Meeting, 11 September 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 6
6
Spherical Mirrors
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab
✓ All 10 mirror produced
30% less areal density vs LHCb
Shape accuracy better than specifications
✓ Coating highlighted defects (chemical residuals)
✓ Resurfacing ongoing @ CMA (done this week)
Notes: Dire meglio chi fa cosa.

## Slide 7
7
Planar Mirrors
Max. PMT
sensitivity
✓ Lateral mirror @ JLab
Material budget comparable to CFRP @ 1/10 cost
✓ Assembling validated
✓ Surface defects mitigated
✓ Front mirror production ongoing (done next week)
Reflectivity specs: > 90% at 400 nm
Slope of surface from CMM machine
Front panel and mirror assembling test
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 8
8
RICH Readout
SSP Fiber-Optic DAQ
Contalbrigo M.
Readout Electronics
Compact (matches sensor area)
Modular Front-End (Mechanical adapter, ASIC, FPGA)
Scalable fiber optic DAQ (TCP/IP or SSP)
Tessellated (common HV, LV and optical fiber)
Services
Air Cooling
HALL-B Meeting, 11 September 2017, JLab
Electronic Panel
Multi-Anode PMT
Notes: Immagine electronic panel e scheda ottica

## Slide 9
RICH Front-End Electronics
9
Contalbrigo M.
Analog: Charge (1 fC)
Digital: Time (1 ns)
Trigger latency (8 ms)
Optical ethernet (2.5 Gbps)
Trigger: external
internal
self
On-board pulser
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab
Notes: Aggiungere range di validita’ per fattorizzazione GPDs

## Slide 10
10
ADC: Collected Charge
Contalbrigo M.
Gain
JLAB Laser Test Stand
P. Degtyarenko, NIMA 872 (2017)
H12700 Gain: 3 10^6
Solid lines:
H12700 set
68736 entries
Solid lines:
H8500 set
14784 entries
H8500 Gain: 4 10^6
H8500
Solid lines:
H12700 set
22912 entries
Solid lines:
H8500 set
4928 entries
H12700
SPE signal proportional to the MAPMT gain
SPE relative efficiency: +20% for H12700
MAPMT model for gain, resolution, SPE efficiency
accounting for cross--talk
HALL-B Meeting, 11 September 2017, JLab
Resol.
Notes: Dire meglio chi fa cosa.

## Slide 11
Threshold
Eff. ratio
0 0.5 1 2 4
Eff. ratio
Maroc
Gain
TDC: SPE Discrimination Calibration
Relative efficiency map
Relative gain map
11
Contalbrigo M.
x ¼
x ½ MAROC
x 1 GAIN
x 2
x 4
HALL-B Meeting, 11 September 2017, JLab
Notes: Mettere legame con duration / mappa efficienza pixels ?

## Slide 12
12
TDC: SPE Timing Calibration
± 3ns
Typical time-walk with charge
Channel by channel time calibration: -offsets -walk
Laser
PMT
Time (ns)
Occupancy (#)
Contalbrigo M.
Time over threshold relates to charge
Duration [ns]
Tme [ns]
ADC amplitude [DAC]
Time over THR [ns]
1
HALL-B Meeting, 11 September 2017, JLab
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 13
13
Cosmic Stand
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 14
14
Cosmic Run
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab
Trigger and tracking station
PMT plane
Scintillator pads
Notes: Dire meglio chi fa cosa.

## Slide 15
15
RICH Online Monitor
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab
Temperatures and Scalers monitored with warning signs
Notes: Dire meglio chi fa cosa.

## Slide 16
16
Slow Control
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab
Scaler Average
for each PMT (Hz)
Temperatures for
each FE unit (C)
Bias voltages for
each FE unit (V)
Option: add some of these values to the interlock of the system
Notes: Dire meglio chi fa cosa.

## Slide 17
17
Power Supply Control
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab
HV Voltages
LV voltages
Notes: Dire meglio chi fa cosa.

## Slide 18
18
Hardware Interlock
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 19
Strip Charts
Cosmic stand worked smoothly during first run (3 days)
19
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab

## Slide 20
Online Event Display
20
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab
No background suppression: 1 microsec readout window

## Slide 21
Online Event Display
21
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab

## Slide 22
Online Event Display
22
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab

## Slide 23
Online Event Display
23
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab

## Slide 24
Online Event Display
24
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab

## Slide 25
Online Event Display
25
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab

## Slide 26
Hit Time Distribution
DT (BOTTOM plane – TOP Tracking Unit) = 3.4 ns
sT without any correction = 2.4 ns
26
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab
Cherenkov Photons
Muon hits

## Slide 27
27
RICH Software
RICH geometry is implemented in the software mostly from CAD through mesh files
- a detailed, consistent and updated description of the detector can be obtained
- simulation and reconstruction shared the same database
Digitization of the MAPMT response:
- calculate the pixel ID
- interface to CCDB
- apply efficiency
- simulated ADC and TDC spectra
Event reconstruction started
- match with DC information in coat-java
- photon tracing algorithm
(tested with prototype and cosmic runs)
- event display
Strong crew: Matteo, Ilaria, Marco, Giovanni,
Justin, Morgen, Elise, Aram, Andrey, …
Photon Energy
Direct ring example
Contalbrigo M.
HALL-B Meeting, 11 September 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 28
28
Photon Detector
Clean Air Compressor
Gas System GUI
Scale the system up:
✓ Argonne cosmic box
✓ Cabling with patch panels
✓ Gas system being installed in EEL-124 (DSG)
Operative test foreseen in October 17
with fully instrumented electronic panel
Contalbrigo M.
Air Tank and Gas Line Controls
HALL-B Meeting, 11 September 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 29
29
Assembling Schedule
Contalbrigo M.
September:
Photon Detector Assembling
RICH Components Preparation
October:
RICH Component Assembling
Photon Detector Commissioning
Steady Cosmic Run
HALL-B Meeting, 11 September 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 30
30
Assembling Schedule
Contalbrigo M.
Week of 30 October: RICH Services in the Hall
Week of 13th November: RICH in the Hall
November:
Final Assembling
Validation
Installation
HALL-B Meeting, 11 September 2017, JLab
Notes: Dire meglio chi fa cosa.