## Slide 1: CLAS12-RICH Project Scope & Overview
June 13th 2016
Charge 1:
Have the HES&Q considerations been properly
included in the design of the detector?

## Slide 2
DC
R3
R2
R1
EC
Torus
FTOF
PCAL
HTCC
Solenoid
RICH
The CLAS12 Spectrometer
2
RICH: Hadron ID
for flavor separation
(common to >4 SIDIS approved exp.)
Luminosity up to 1035 cm-2 s-1
Broad kinematic range coverage
(current to target fragmentation)
H and D polarized targets
Highly polarized 12 GeV electron beam
PAC30 report (2006): Measuring the kaon asymmetries is likely to be
as important as pions …. The present capabilities of the present
CLAS12 design are weak in this respect and should be strengthened.
Beam
Ongoing upgrade of the CLAS detector.
First beam expected in 2017.
CLAS12 RiCH Readiness Review, 13th June 2016

## Slide 3
Kaon Program @ CLAS12
3
C12-12-009:
Transverse spin effects in SIDIS at 11 GeV
with a transversely polarized target using
the CLAS12 detector
RICH detector for flavor separation of quark spin-orbit correlations in nucleon structure and quark fragmentation. In general, the whole CLAS12 physics program will benefit fro a better PID.
CLAS12 RiCH Readiness Review, 13th June 2016

## Slide 4
Kaon flux 1 order of magnitude lower than p  p rejection 1:500 required
Aerogel mandatory to separate hadrons in the 3-8 GeV/c momentum range with the required large rejection factors
  collection of visible Cherenkov light
Use of PMTs: challenging project, need to minimize the detector
area covered with expensive photo-detectors
CLAS12 Momentum Range
4
SIDIS
kinematics
TOF
Ratio K/ ~ 0.1-0.15
CLAS12 RiCH Readiness Review, 13th June 2016

## Slide 5
RICH
5
INSTITUTIONS
INFN (Italy) Bari, Ferrara, Genova, L.Frascati, Roma/ISS
Jefferson Lab (Newport News, USA)
Argonne National Lab (Argonne, USA)
Duquesne University (Pittsburgh, USA)
Glasgow University (Glasgow, UK)
J. Gutenberg Universitat Mainz (Mainz, Germany)
Kyungpook National University, (Daegu, Korea)
University of Connecticut (Storrs, USA)
UTFSM (Valparaiso, Chile)
The CLAS12 RICH Project
RICH goal: p/K/p identification from 3 up to 8 GeV/c and 25 degrees
~4s pion-kaon separation for a pion rejection factor ~ 1:500
CLAS12 RiCH Readiness Review, 13th June 2016
RICH 1
RICH 2

## Slide 6
6
RICH Project Timeline
2010: Concept of Design and Technology
2011: Tests of components and small prototype
2012: Tests of large scale prototype
2013: June: RICH Technical Review
September: Project Review with DOE
Start Construction Phase
2014: June: RICH Mechanical Review
2015: June: RICH Internal Review
October: Project Mid-term Review
DOE relaxed supervision
2016: June: RICH Readiness Review
2017: September: Ready for Installation
CLAS12 RiCH Readiness Review, 13th June 2016
Notes: 9 vs 8

## Slide 7
7
The Hybrid Optics Design
Direct rings and best performance for high momentum particles
4.2 m
3.7 m
1.2 m
p
Beam
plane
mirror
spherical
mirror
photon detector
aerogel
2 cm
6 cm
gap
p
g
p=8 GeV/c
K (x40)
p
P (x40)
Test beam: clear hadron separation up
to the CLAS12 maximum momentum
CLAS12 RiCH Readiness Review, 13th June 2016

## Slide 8
8
The Hybrid Optics Design
4.2 m
3.7 m
1.2 m
p
Beam
plane
mirror
spherical
mirror
photon detector
aerogel
2 cm
6 cm
gap
p
g
Reflected rings for less demanding low momentum particles
Arbitrary units
Test beam: resolution is not significantly degraded
beyond light yield loss
CLAS12 RiCH Readiness Review, 13th June 2016

## Slide 9
970 mm
Lateral Flat Mirrors
Glass skin + Al honeycomb
Spherical Mirror
Carbon Fiber
PMTs + Electronic
Aerogel SiO2 Wall
RICH Assembling
9
External Frame
Composite material (CFRP)
N2 Volume
CLAS12 RiCH Readiness Review, 13th June 2016
MA-PMTs grouped in 138 tiles
~ 1 m2 coverage, 25 k channels in total

## Slide 10
10
RICH Structure
Design to substitute one LTCC sector
- Use composite Material (CFRP) to increase
stiffness and lightness
- Detailed analysis of mounting bracket
compatibility
CLAS12 RiCH Readiness Review, 13th June 2016

## Slide 11
Aerogel Radiator
11
Flexible geometry, mass production capability
Achieved ~ 0.00050 mm4 cm-1 clarity for large tiles
(LHCB has 0.0064 mm4 cm-1 for n=1.03)
Aerogel with n=1.05 in collaboration with
Budker and Boreskov Institutes of Novosibirsk
Dominated by
Absorption coeff.
Dominated by
Scattering length
Hydrophillic aerogel requires dry N2 atmosphere
A0 > 95 %
<Lsc> ~ 50 mm
CLAS12 RiCH Readiness Review, 13th June 2016
Notes: Qual e’ il packing factor di HERMES ?
Refraction or refractive ?

## Slide 12
PMTs
ADAPTER BOARD
ASIC BOARD
FPGA BOARD
12
Photon Detector
H8500
H12700
Dynode structure optimized
for single-photon detection
3 (2) MA-PMT grouped into
tiles for control and services
CLAS12 RiCH Readiness Review, 13th June 2016
Digital readout, almost dead-time free,
20 kHz, 8 ms latency, 1 ns resolution
H8500
H12700

## Slide 13
Electronics Cooling
13
Validated with a
thermo-couple
Modified to
gain 800 mW
Tile power dissipation ~ 3.5 W
FTOF requirement:
T < 100 F = 38 C
Half-Module Air Cooling Tests with ~ 100 slm
Air Cooling required
- compressor for clean ~ 200 (+50%) slm air flow
- interlock system to prevent over-temperature
- temperature monitor (FPGA + dedicated sensors)
FPGA
Voltage
Regulator
Optical
Transceiver
CLAS12 RiCH Readiness Review, 13th June 2016
Notes: Ricontrollare Dan Carman requirement

## Slide 14
14
Glass-skin Planar Mirror
CLAS12 RiCH Readiness Review, 13th June 2016
Cost-effective technology derived
from terrestrial telescopes:
- Glass-skin of 0.7 mm thickness
- Al Honeycomb core
- Areal density comparable with CFRP
- Not available for curved mirrors
Demonstrator passed optical and mechanical tests

## Slide 15
15
CFRP Spherical Mirror
Mirror: 1.3 nm rms
Mandrel: 0.9 nm rms
CLAS12 RiCH Readiness Review, 13th June 2016
Same technology of
Hermes, AMS, LHCb
Demonstrator passed optical and mechanical tests

## Slide 16
16
CLAS12 RICH Project
✔ Scope
Extend CLAS12 hadron (kaon, proton) identification in the full phase-space
✔ Overview
Design to substitute one LTCC sector
Performance proven with large-scale prototype
Quality assurance verified on demonstrators
✔ Safety Considerations
- No hazardous material
- Standard HES&Q as Hall-B, i.e. HV
- Electronics cooling requires interlock
- Aerogel preservation requires N2
CLAS12 RiCH Readiness Review, 13th June 2016
Notes: Come si scrive ESHQ ???
50 mm