## Slide 1
RICH GEMC Geometry
Contalbrigo Marco & Luciano Pappalardo
INFN Ferrara
Rich Meeting, 13 January 2012

## Slide 2
2
Contalbrigo M.
Standard set-up
On the Jlab GEMC database
Only one isolated sector
No magnetic field
Geometry:
rich_build_radtrap_mirror35_default.pl
2
Contalbrigo M.
Rich Meeting, 13th January 2012, JLab

## Slide 3
3
Contalbrigo M.
14o degrees, 8 GeV/c
3
Contalbrigo M.
Rich Meeting, 13th January 2012, JLab
Reflections on lateral mirrors
At the limit of Cerenkov angle resolution
No magnetic field
The simulated PMT plane is the
CLAS12 standard, not matched
to the prototype tests
Direct vs reflecte rigns at once
Important to fix the momentum range
(is direct ring more effective ?)

## Slide 4
4
Contalbrigo M.
14o degrees, 4 GeV/c
4
Contalbrigo M.
Rich Meeting, 13th January 2012, JLab
Reflections on lateral mirrors
Outside the single MA-PMT range
No magnetic field
The simulated PMT plane is the
CLAS12 standard, not matched
to the prototype tests
Easier to handle ?

## Slide 5
5
Contalbrigo M.
25o degrees, 8 GeV/c
5
Contalbrigo M.
Rich Meeting, 13th January 2012, JLab
Reflections on lateral mirrors
No magnetic field
The simulated PMT plane is the
CLAS12 standard, not matched
to the prototype tests
Feasible only with lateral mirrors

## Slide 6
6
Contalbrigo M.
25o degrees, 4 GeV/c
6
Contalbrigo M.
Rich Meeting, 13th January 2012, JLab
Reflections on lateral mirrors
No magnetic field
The simulated PMT plane is the
CLAS12 standard, not matched
to the prototype tests

## Slide 7
7
Contalbrigo M.
To be decided
7
Contalbrigo M.
Rich Meeting, 13th January 2012, JLab
Wich angle ?
-- up to 3 configurations (direct, reflected, half-half)
-- lateral mirrors ?
Wich energy ?
-- one “easy”
-- most challenging one ?
Which aerogel to test ?
-- n=1.05, 3-6-9-12 cm (for photon yield)
-- n=1.03, 1.04, 1.06 (for choerence and rayleigh)
How much time do we need for each measurement ?