## Slide 1
Photon Imaging with the Modular
And Multipurpose Readout Electronics
of the Large-Area CLAS12 RICH
Contalbrigo Marco
INFN Ferrara
On behalf of the CLAS12 RICH Group
8th NDIP Conference, 7th July 2017, Tours - France
Notes: Mettere tutti I nomi ?

## Slide 2
The CLAS12 Spectrometer
2
Contalbrigo M.
Luminosity up to 1035 cm-2 s-1
Broad kinematic range coverage
H and D polarized targets
Highly polarized 12 GeV electron beam
RICH
RICH
Beam
Hadron ID wanted for flavor separation
3D structure of the nucleon by
polarized deep-inelastic scattering
Crucial for the study of parton dynamics related to angular momentum and spin-orbit effects with flavor sensitivity.
8th NDIP Conference, 7th July 2017, Tours - France
1st sector by October 2017
2 sectors to accomplish physics program
Upgrade of the CLAS detector at Jefferson Lab almost complete.
First beam expected in fall 2017.

## Slide 3
3
Contalbrigo M.
CLAS12 RICH
Cherenkov angle (mrad)
7 Gev/c
6 Gev/c
8 Gev/c
p
k
8th NDIP Conference, 7th July 2017, Tours - France
INSTITUTIONS
INFN (Italy) Bari, Ferrara, Genova, L.Frascati, Roma/ISS
Jefferson Lab (Newport News, USA)
Argonne National Lab (Argonne, USA)
Duquesne University (Pittsburgh, USA)
George Washington University (USA)
Glasgow University (Glasgow, UK)
J. Gutenberg Universitat Mainz (Mainz, Germany)
Kyungpook National University, (Daegu, Korea)
University of Connecticut (Storrs, USA)
UTFSM (Valparaiso, Chile)
p
Prototype results:
Notes: Vanno messi studi innovativi e pubblicazioni

## Slide 4
4
Contalbrigo M.
RICH Design
8th NDIP Conference, 7th July 2017, Tours - France
Goal: separate kaons from pions and protons in the momentum range 3-8 GeV/c
Aerogel radiator to match the momentum
Hybrid-optic to minimize the instrumented area
Working with VIS and near-UV photons (MAPMTs or SiPMs)
Notes: Dire meglio chi fa cosa.

## Slide 5
5
Photon Sensor: MA-PMT
8th NDIP Conference, 7th July 2017, Tours - France
MA-PMT
< 1 cm spatial resolution
< 1 ns time resolution
Compatible with the low torus fringe field
Average MA-PMT gain ~ 2.7 106
Corresponds to SPE ~ 400 fC
✓ 64 6x6 mm2 pixels cost effective device
✓ High sensitivity on VIS towards UV light
✓ Mature and reliable technology
✓ Large Area (5x5 cm2)
✓ High packing density (89 %)
✓ Fast response
✓ Expensive technology
Notes: Dire meglio chi fa cosa.

## Slide 6
6
RICH Readout Electronics
SSP Fiber-Optic DAQ
Contalbrigo M.
8th NDIP Conference, 7th July 2017, Tours - France
Readout Electronics
Compact (matches sensor area)
Modular Front-End (Mechanical adapter, ASIC, FPGA)
Scalable fiber optic DAQ (TCP/IP or SSP)
Tessellated (common HV, LV and optical fiber)
Services
Air Cooling
Tile power dissipation ~ 3.5 W
Notes: Immagine electronic panel e scheda ottica

## Slide 7
RICH Front-End Electronics
7
Contalbrigo M.
Analog: Charge (1 fC)
Digital: Time (1 ns)
Trigger latency (8 ms)
Optical ethernet (2.5 Gbps)
Trigger: external
internal
self
On-board pulser
Contalbrigo M.
8th NDIP Conference, 7th July 2017, Tours - France
Notes: Aggiungere range di validita’ per fattorizzazione GPDs

## Slide 8
8
FE Electronics: Digital Readout
Pedestal level as seen by a test-point
As seen by RICH readout
During Acceptance tests
During Internal Pulser Calibration
Discrimination down to 20 fC, i.e. few % of SPE, allows sensor characterization
Contalbrigo M.
8th NDIP Conference, 7th July 2017, Tours - France
Notes: Vedere presentazione Matteo

## Slide 9
9
FE Electronics: Charge
Multiplexed readout up to 50 kHz
High resolution SPE spectrum
Viable for efficiency and gain monitors
In conjunction with timing, allows the
study of PMT discharge and cross-talk
Contalbrigo M.
Gain
8th NDIP Conference, 7th July 2017, Tours - France
Notes: Dire meglio chi fa cosa.

## Slide 10
10
Sensor
Electronic
~ 20 fC
~ 1/80 SEP
RICH Electronic: Cross-talk
8th NDIP Conference, 7th July 2017, Tours - France
Signal
Cross-talk
Sampling time
Notes: Dire meglio chi fa cosa.

## Slide 11
Threshold
Eff. ratio
0 0.5 1 2 4
Eff. ratio
Maroc
Gain
FE Electronics: SPE Discrimination
Relative efficiency map
Relative gain map
11
Contalbrigo M.
8th NDIP Conference, 7th July 2017, Tours - France
x ¼
x ½ MAROC
x 1 GAIN
x 2
x 4
Notes: Mettere legame con duration / mappa efficienza pixels ?

## Slide 12
12
FE Electronics: SPE Timing
± 3ns
Typical time-walk with charge
Channel by channel time calibration: -offsets -walk
Laser
PMT
Time (ns)
Occupancy (#)
Contalbrigo M.
8th NDIP Conference, 7th July 2017, Tours - France
Time over threshold relates to charge
Duration [ns]
Tme [ns]
ADC amplitude [DAC]
Time over THR [ns]
1
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 13
DATA
MC
Impinging
particles
Test beam of small EIC mRICH prototype Fermilab – April 16
CLAS12 MAPMTs and readout electronics
13
Contalbrigo M.
Application: Modular RICH @ EIC
Fresnel lens focalization concept for
a compact (short gap) device
8th NDIP Conference, 7th July 2017, Tours - France

## Slide 14
14
Contalbrigo M.
Application: DIRC @ GlueX
8th NDIP Conference, 7th July 2017, Tours - France
H12700 +
CLAS12
readout
Hadron discrimination up to 4 GeV/c
Notes: Dire meglio chi fa cosa.

## Slide 15
15
Contalbrigo M.
Photon Sensor: SiPM
8th NDIP Conference, 7th July 2017, Tours - France
Beam
SiPMs
✓ Mass production technology
✓ Photon counting
✓ Excellent time resolution
✓ Compatible with magnetic field
✓ High dark rate
✓ Low radiation tolerance
Work at low temperature

## Slide 16
16
Contalbrigo M.
Photon Sensor: SiPM
Single-photon capability after irradiation ?
S12572 standard technology
S13360 trench technology
8th NDIP Conference, 7th July 2017, Tours - France
Enea
JLab
S13360 Before Irradiation
S12572
S13360 After Irradiation
S12572 (few CLAS years)

## Slide 17
17
FE Electronics: SiPM
Contalbrigo M.
8th NDIP Conference, 7th July 2017, Tours - France
Photon counting with
ADC charge measurement
Single photon discrimination with
TDC time measurement
2 p.e.
Duration [ns]
Time [ns]
Notes: Dire meglio chi fa cosa.

## Slide 18
18
Conclusions
The CLAS12 RICH is designed to provide hadron identification in the 3 to 8 GeV/c momentum range
A hybrid-optic design has been adopted to minimize the instrumented area
Flat-panel multi-anode PMTs are being used for the first module
SiPMs are being investigated for the second module
The readout electronics is designed to offer
Modular Front-End (Mechanical adapter, ASIC, FPGA)
Scalable fiber optic DAQ (TCP/IP or SSP)
Compact and tessellated geometry (common HV, LV and optical fiber)
Flexible trigger logic (external, auto, self)
Discrimination down to few % of SPE
Time resolution of 1 ns
Charge measurement (multiplexed ADC or time-over-threshold)
Multi purpose electronics: in use also for GlueX DIRC and EIC R&D
Contalbrigo M.
8th NDIP Conference, 7th July 2017, Tours - France
Notes: Dire meglio chi fa cosa.