## Slide 1: CLAS12-RICH Status-Report
March 5th 2014

## Slide 2
RICH Project Milestones
2
Contalbrigo M.
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 3
830
RICH Mechanics Review: 20 June 2014
RICH module designed to be as much as possible close to the existing LTCC sector layout
Lateral Flat Mirrors
Spherical Mirror
PMTs Electronic Panel
Aerogel Wall
RICH External Frame
3
Contalbrigo M.
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 4
RICH Module General Assembly
4
Contalbrigo M.
CLAS12 RICH Meeting, 18th June 2014, JLab
D. Orecchini
OUTER CFRP
CLOSING PANEL
CONNECTION STIRRUP
RICH MODULE BACKWARD VIEW (OPENED)
CONNECTION STIRRUP
SPHERICAL MIRROR
ELECTRONIC PANEL
CUTOFF FOR PATCH PANELS
RICH MODULE FORWARD VIEW (OPENED)
SPHERICAL MIRROR

## Slide 5
FEA Model Stress Analysis
5
Contalbrigo M.
CLAS12 RICH Meeting, 18th June 2014, JLab
Constraint Weight Stress
S. Tomassini
Deformations

## Slide 6
Gas System Design Parameters
6
Contalbrigo M.
CLAS12 RICH Meeting, 18th June 2014, JLab
R. Perrino

## Slide 7
Procurement of the Front-End boards Initiated
PMTs
ADAPTER BOARD
ASIC BOARD
FPGA BOARD
REAR SIDE
FRONT SIDE
Preliminary ASIC BOARD routing (INFN)
7
Contalbrigo M.
Read-Out Electronics
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 8
8
Contalbrigo M.
Adapter Boards
PMTs
ADAPTER BOARD
ASIC BOARD
FPGA BOARD
2 x PMTs
3 x PMTs
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 9
Sample Boards to check components conflicts
and cabling issues
9
Contalbrigo M.
FPGA Boards
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 10
10
Contalbrigo M.
MA-PMTs Acceptance Tests
90 Hamamatsu MAPMT out of 400 delivered and tested at Jlab
80 H8500 (2 rejected)
10 H12700 with enhanced single photoelectron spectrum
H8500
Single Photoelectron Spectrum
H12700
FADC counts
PMT Gain Comparison:
Hamamatsu Jlab
Pixel Number
Jlab Test Stand
V. Kubarovsky
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 11
The Manufacture Engineering Phase by the Russian vendors at Novosibirsk to improve and
stabilize large tiles production yield has been completed:
- large tiles yield acceptable for mass production has been achieved
- new tiles with optical improved surface delivered for test
- visit of the manufactures from Novosibirsk in Ferrara: March 17-23, 2014
- Chiba University (Belle II) aerogel acquired for comparison tests
Aerogel
11
Contalbrigo M.
Rafractive index: 1.05
Area: 20x20 cm2
Thickness: 3 cm
Scattering Length: greater than 50 mm
Aerogel Radiator
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 12
Transmittance
12
Contalbrigo M.
Pin-drying
Enhanced aging
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 13
Hunt Analysis
13
Contalbrigo M.
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 14
Aerogel Surface Quality
14
Contalbrigo M.
Laser
Screen
Mirror
Filter
Aerogel
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 15
Aerogel Surface Quality
15
Contalbrigo M.
CHIBA BTR 12-3a
NOV CERN1
NOV CERN1 (180o)
Laser
Screen
Mirror
Aerogel
Filter
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 16
Aerogel Uniformity
16
Contalbrigo M.
Laser
CCD camera
Aerogel
New automatized system
Studying sensitivity on edge effects, tile bending
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 17
Radius tolerance <= 1%
Surface accuracy: 5 µm RMS
Surface Quality: 3 nm RMS
D0 < 5 mm
Reflectivity > 90%
CFRP SPHERICAL Mirror
Milestone: Identification of Mirror Technical Specification (3/31/14) achieved (2/28/14)
Manufacture Engineering Phase ongoing with companies in Italy and USA
In contact with CERN laboratory for mirror characterization
17
Contalbrigo M.
Mirrors
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 18
Mandrel demo in preparation at Marcon (Italy) :
- supremax (borosilicate glass) material
- spherical shape, 4 m radius, 35 cm diameter
Delivered at the end of March
18
Contalbrigo M.
CFRP Spherical Mirror: Mandrel Demo
Mechanics is fulfilling specs
Pyrex Glass Mold
CFRP mirror
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 19
Mandrel Demo: Shape Accuracy
19
Contalbrigo M.
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 20
Mandrel Demo: Roughness
20
Contalbrigo M.
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 21
Mandrel Demo: Characterization
21
Contalbrigo M.
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 22
Two mirrors demo in preparation at CMA (USA) :
- CFRP skin and rohacell core
- spherical shape, 30 cm diameter
- 1st demo: 3.5 m radius, LHCb finish, from a CMA mandrel
2 samples (coated and not) delivered at the end of May
Mechanics does fulfill specifications
Reflective coating does not
- 2nd demo: 4 m radius, CLAS12 finish, from the Marcon mandrel
Pyrex Glass Mold
CFRP mirror
22
Contalbrigo M.
CFRP Spherical Mirror
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 23: Wavefront Data
Shack-Hartmann wavefront sensor
Surface map of the CFRP mirror shows errors of 1.86m p-v surface, below the 2.5 m p-v surface requirement.
Surface Map of the full aperture of the CFRP mirror. Only tip, tilt and focus removed.
Error is 1.86 m p-v on the surface.

## Slide 24: Reflectivity Data
The second measurement indicates just above 60% reflectivity at 450nm
Chart: Wavelength (nm)

## Slide 25
25
Contalbrigo M.
JLab Reflectivity Test
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 26
Two mirrors demo in preparation at CMA (USA) :
- CFRP skin and rohacell core
- spherical shape, 30 cm diameter
- 1st demo: 3.5 m radius, LHCb finish, from a CMA mandrel
mechanics fulfilling specs. but coating process not reliable
- 2nd demo: 4 m radius, CLAS12 finish, from the Marcon mandrel
Pyrex Glass Mold
CFRP mirror
26
Contalbrigo M.
CFRP Spherical Mirror
CMA can do the wanted CFRP substrate but not the coating
For coating we have contacted
* SESO-Thales (France)
made the coating for LHCb, max allowed mirror diameter 1.8 m
* Zaot (Italy)
coating the planar mirrors for Media-Lario, max allowed mirror diameter 1.8 m,
in principle able to reach 92-95% reflectivity in the 300-600 nm wavelength range
* HTCC company
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 27
27
Contalbrigo M.
Glass Skin Mirror
Suitable coating with room for improvement
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 28
Radius tolerance <= 1%
Surface accuracy: 5 µm RMS
Surface Quality: 3 nm RMS
D0 < 5 mm
Reflectivity > 90%
Planarity tolerance <= 0.1 mm
Surface accuracy: 5 µm RMS
Surface Quality: 3 nm RMS
Reflectivity > 90%
CFRP SPHERICAL Mirror
Planar Glass Mirror
Milestone: Identification of Mirror Technical Specification (3/31/14)
Manufacture Engineering Phase ongoing with companies in Italy and USA
In contact with CERN laboratory for mirror characterization
28
Contalbrigo M.
Mirrors
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 29
Two demos under preparation at Media-Lario (Italy) :
- soda-line mm glass skin and Al honeycomb core
- reinforced frame for aerogel holder
- 1st demo: 1.6 mm (standard) glass skin thicknesses
29
Contalbrigo M.
Glass Skin Mirror
CFRP Entrance Panel
Aerogel bricks
Glass skin Mirror
Surface quality: 40 mm p-v, 8-9 mm rms
- not perfect Al mold (20 mm p-v)
- not optimized vacuum process
- gravity (to be studied by FEM simulation)
CLAS12 RICH Meeting, 18th June 2014, JLab

## Slide 30
✔ Ongoing: Mechanic Review Process
✔ Ongoing: Procurement of Readout Electronic
✔ Ongoing: Mirror and Aerogel manufacture engineering
✔ Ongoing: H8500 and H12700 characterization
✔ Before summer: start aerogel production
✔ Fall: complete mirror manufacture engineering
✔ Fall: prototype of readout electronic ready for tests
30
Contalbrigo M.
RICH Project Latest’s
CLAS12 RICH Meeting, 18th June 2014, JLab
Notes: 9 vs 8