## Slide 1
The Large Area CLAS12
Ring-Imaging Cherenkov Detector
Contalbrigo Marco
INFN Ferrara
14th ICATPP Conference, 25th September 2013

## Slide 2
X
Inclusive DIS
SFs (x,Q2)
Structure functions
(unpolarized, helicity)
Sum over quark charges
The 3D Spin Nucleon Structure
2
Contalbrigo M.
14th ICATPP, 25th September 2013, Como

## Slide 3
X
Inclusive DIS
SFs (x,Q2)
Structure functions
(unpolarized, helicity)
Sum over quark charges
Semi-inclusive DIS
Parton distributions
Flavor sensitivity
PDFs (x, Q2) & FFs (z,Q2)
The 3D Spin Nucleon Structure
3
Contalbrigo M.
14th ICATPP, 25th September 2013, Como

## Slide 4
X
Inclusive DIS
SFs (x,Q2)
Structure functions
(unpolarized, helicity)
Sum over quark charges
Semi-inclusive DIS
Parton distributions
Flavor sensitivity
PDFs (x, Q2) & FFs (z,Q2)
Transverse momentum
dependent parton distrib.
Spin-Orbit effects
TMDs (x,z,Ph ,f,fS,Q2)
T
Rich and Involved phenomenology !!
The 3D Spin Nucleon Structure
4
Contalbrigo M.
14th ICATPP, 25th September 2013, Como

## Slide 5
CHL-2
Upgrade magnets and power supplies
Enhance equipment in existing halls
add Hall D
(and beam line)
5
Contalbrigo M.
Beam Energy 12 GeV
Beam current 90 mA
Beam polarization 85 %
CEBAF Upgrade at Jefferson Lab
14th ICATPP, 25th September 2013, Como

## Slide 6
DC
R3
R2
R1
EC
Torus
FTOF
PCAL
HTCC
Solenoid
RICH
The CLAS12 Spectrometer
6
Contalbrigo M.
RICH: Hadron ID
for flavor separation
(common to SIDIS approved exp.)
Luminosity up to 1035 cm-2 s-1
Broad kinematic range coverage
(current to target fragmentation)
H and D polarized targets
Highly polarized 12 GeV electron beam
PAC30 report (2006): Measuring the kaon asymmetries is likely to be
as important as pions …. The present capabilities of the present
CLAS12 design are weak in this respect and should be strengthened.
Beam
Ongoing upgrade of the CLAS detector.
First beam expected in 2016.
14th ICATPP, 25th September 2013, Como

## Slide 7
Kaon flux 1 order of magnitude lower than p  p rejection 1:500 required
Aerogel mandatory to separate hadrons in the 3-8 GeV/c momentum range with the required large rejection factors
  collection of visible Cherenkov light
Use of PMTs: challenging project, need to minimize detector area covered with expensive photodetectors
CLAS12 Momentum Range
7
Contalbrigo M.
SIDIS
kinematics
TOF
Ratio K/ ~ 0.1-0.15
14th ICATPP, 25th September 2013, Como

## Slide 8
RICH
RICH
RICH
8
Contalbrigo M.
INSTITUTIONS
INFN (Italy) Bari, Ferrara, Genova, L.Frascati, Roma/ISS
Jefferson Lab (Newport News, USA)
Argonne National Lab (Argonne, USA)
Duquesne University (Pittsburgh, USA)
Glasgow University (Glasgow, UK)
J. Gutenberg Universitat Mainz (Mainz, Germany)
Kyungpook National University, (Daegu, Korea)
University of Connecticut (Storrs, USA)
UTFSM (Valparaiso, Chile)
The CLAS12 RICH Project
RICH goal: p/K/p identification from 3 up to 8 GeV/c and 25 degrees
~4s pion-kaon separation for a pion rejection factor ~ 1:500
14th ICATPP, 25th September 2013, Como

## Slide 9
RICH Base Configuration
1st sector allows:
✓ to start physics with un-polarized and
longitudinal polarized target
✓ full coverage of the relevant azimuthal
angle f (w.r.t virtual photon)
2nd sector allows:
✓ to extend the kinematical coverage
into the most interesting regions
(high-Q2 and high-PT)
✓ the symmetric arrangement needed to control
systematic effects in precision measurements
with polarized targets
(i.e. double ratio method)
Crucial for the study of parton dynamics
related to angular momentum and spin-orbit
effects with flavor sensitivity.
9
Contalbrigo M.
14th ICATPP, 25th September 2013, Como
Notes: 9 vs 8

## Slide 10
10
Contalbrigo M.
The Hybrid Optics Design
Aerogel
Spherical mirrors
Photo-detectors
Planar
mirrors
14th ICATPP, 25th September 2013, Como
plane
mirror
spherical
mirror
photon detector
aerogel
1 cm
3 cm
gap
2
6
p
g
Direct rings/best performance for high momentum particles

## Slide 11
11
Contalbrigo M.
The Hybrid Optics Design
Aerogel
Spherical mirrors
Photo-detectors
Planar
mirrors
plane
mirror
spherical
mirror
photon detector
aerogel
1 cm
3 cm
gap
2
6
p
g
14th ICATPP, 25th September 2013, Como
plane
mirror
spherical
mirror
photon detector
aerogel
1 cm
3 cm
gap
2
6
p
g
Minimize active area (cost)
Material budget concentrated where TOF is less effective
Focalizing mirrors allow thick radiator for good light yield
Direct rings/best performance for high momentum particles
Reflected rings for less demanding low momentum particles

## Slide 12
Aerogel Radiator
12
Contalbrigo M.
14th ICATPP, 25th September 2013, Como

## Slide 13
Aerogel Transmittance
13
Contalbrigo M.
Achieved clarity for large tiles at n=1.05
~ 0.00050 mm4 cm-1
(LHCB has 0.0064 mm4 cm-1 for n=1.03)
In collaboration with Budker and Boreskov
Institutes of Novosibirsk
14th ICATPP, 25th September 2013, Como
Notes: Qual e’ il packing factor di HERMES ?
Refraction or refractive ?

## Slide 14
Aerogel Chromatic Dispersion
14
Contalbrigo M.
Measured by prisma method:
14th ICATPP, 25th September 2013, Como
fit
MC
Expected value from density:
n2(400nm) = 1+0.438r
n(400nm) = 1.0492
Measured by prototype with optical filters:
Notes: Qual e’ il packing factor di HERMES ?
Refraction or refractive ?

## Slide 15
15
Contalbrigo M.
Photon Detectors: MA-PMT
✓ Mature and reliable technology
✓ Large Area (5x5 cm2)
✓ High packing density (89 %)
✓ 64 6x6 mm2 pixels cost effective device
✓ High sensitivity on visible towards UV light
✓ Fast response
The only option to keep the schedule is the use
of multi-anode photomultipliers (we consider the
promising SiPM technology as the alternative)
14th ICATPP, 25th September 2013, Como
Notes: 9 vs 8

## Slide 16
16
Contalbrigo M.
MA-PMT Gain Map
14th ICATPP, 25th September 2013, Como
Gain
Pixel Gain: 1:2 variation can be easily
compensated by the read-out electronics
Notes: 9 vs 8

## Slide 17
17
Contalbrigo M.
MA-PMT SPE Loss
14th ICATPP, 25th September 2013, Como
SPE Loss
SPE loss limited to ~15% above 1040V
and uniform over 28 MA-PMTs
Pixel SPE Loss
MA-PMT SPE Loss
Notes: 9 vs 8

## Slide 18
RICH
beam
RICH
GEM
GEM
scintillators
(trigger)
threshold gas Cerenkov
(p/K separation)
beam
pions
few % kaons
RHIC Prototype at CERN-T9
K
p
18
Contalbrigo M.
14th ICATPP, 25th September 2013, Como
Gas
Cherenkov
signal
GEM
chamber
layout

## Slide 19
RHIC Prototype: Direct Light Case
19
Contalbrigo M.
Radiator
H8500
beam
1m gap
Aerogel: n=1.05
2cm thickness
14th ICATPP, 25th September 2013, Como
8 GeV beam

## Slide 20
RHIC Prototype: Direct Light Case
20
Contalbrigo M.
Radiator
H8500
beam
p=8 GeV/c
K
p
p
1m gap
Aerogel: n=1.05
2cm thickness
Clear hadron separation up to the
CLAS12 maximum momentum
14th ICATPP, 25th September 2013, Como
8 GeV beam

## Slide 21
Radiator
H8500
curved mirror
beam
mirrors + aerogel
RHIC Prototype: Reflected Light Case
21
Contalbrigo M.
Aerogel: n=1.05
6cm thickness
14th ICATPP, 25th September 2013, Como
6 GeV beam
plane mirror

## Slide 22
Radiator
H8500
curved mirror
beam
mirrors + aerogel
RHIC Prototype: Reflected Light Case
22
Contalbrigo M.
Aerogel: n=1.05
6cm thickness
14th ICATPP, 25th September 2013, Como
Aerogel: n=1.05
2cm thickness
6 GeV beam
plane mirror

## Slide 23
Radiator
H8500
curved mirror
beam
mirrors + aerogel
RHIC Prototype: Reflected Light Case
23
Contalbrigo M.
Aerogel: n=1.05
6cm thickness
<N>=13.1
<N>=5.3
With absorbers: sizeable fraction of light survives
without
absorbers
with
absorbers
and resolution is not significantly degraded
Arbitrary units
14th ICATPP, 25th September 2013, Como
Aerogel: n=1.05
2cm thickness
6 GeV beam
plane mirror

## Slide 24
RICH Simulations
24
Contalbrigo M.
14th ICATPP, 25th September 2013, Como
direct light setup
reflected light setup
without absorbers
with absorbers
Based on measured optical characteristics and validated with RICH prototype data

## Slide 25
pion kaon proton
The CLAS12 Hadron ID
25
Contalbrigo M.
14th ICATPP, 25th September 2013, Como
One charged particle per sector in average:
Non trivial RICH light patter due to reflections:
patter recognition and likelihood ID required

## Slide 26
pion kaon proton
The CLAS12 Hadron ID
26
Contalbrigo M.
14th ICATPP, 25th September 2013, Como
Even with a not yet optimized tuning of pattern recognition
and likelihood ID, the p contamination is of the order of 1%
pion >> kaon everywhere
TOF + HTCC
+ RICH
few % pion
contamination
~1:500 rejection
from x5 to ~1%
One charged particle per sector in average:
Non trivial RICH light patter due to reflections:
patter recognition and likelihood ID required

## Slide 27
27
Contalbrigo M.
RICH Project Landscape
2010: ✔ Concept of Design and Technology
2011: ✔ Tests of components and small prototype
2012: ✔ Extensive tests with large-scale prototype
2013: ✔ June: Technical Review
✔ August: TDR
✔ September: Project Review with DOE
GOAL: 1st sector ready by the end of 2016
Starting the construction phase
14th ICATPP, 25th September 2013, Como
Notes: 9 vs 8

## Slide 28
28
Contalbrigo M.
Photon Detectors: SiPM
Measured fluence @ Belle:
90/fb  1-10 109 n/cm2
Expected fluence @ Belle-2:
50/ab  2-20 1011 n/cm2
Expected fluence @ LHCB-2:
1 year  6 1011 n/cm2
Fluence at CLAS12 allows the use of SiPM for future upgrades:
✓ fast develop in performances (dark count ~ 1 Mhz for 3x3 mm2 devices)
✓ fast reduction in price (already comparable with MA-PMTs over 1 m2)
✓ require dedicated R&D for electronics and cooling
14th ICATPP, 25th September 2013, Como
Notes: 9 vs 8

## Slide 29
29
Contalbrigo M.
The SiPM Test Prototype
Custom SiPM matrices with
a pre-amplification stage
Commercial SiPM matrix with
a pre-amplification stage
1.5 m coaxial cables
to the electronics
Water-cooled Peltier cell
for temperature control
[-25 : +25 Celsius]
Beam
14th ICATPP, 25th September 2013, Como
Notes: 9 vs 8

## Slide 30
30
Contalbrigo M.
The Custom SiPM Matrix @ +25o
Signal occupancy (%)
Background occupancy (%)
Peak RMS
Equalization of the
single SiPM is critical
10-3 level is
challenging
High threshold
Medium threshold
Low threshold
Vbias
Vbias
Vbias
14th ICATPP, 25th September 2013, Como
Notes: 9 vs 8

## Slide 31
31
Contalbrigo M.
The Custom SiPM Matrix@-25o
Signal occupancy (%)
Background occupancy (%)
Peak RMS
Largely insensitivity to
Vbias and discriminator
threshold
In a +/- 3 ns window
Comparable with H8500
High threshold
Medium threshold
Low threshold
Vbias
Vbias
Vbias
For a 12 cm radius Cherenkov cone and
a 3 mm SiPM pixel, an occupancy of 4 %
corresponds to about 24 p.e.
14th ICATPP, 25th September 2013, Como
Notes: 9 vs 8

## Slide 32
32
Contalbrigo M.
MA-PMT Gain Map
Efficiency Map:
Incident angle scan:
Pixel Gain:
PMT average gain:
14th ICATPP, 25th September 2013, Como
Notes: 9 vs 8

## Slide 33
33
Contalbrigo M.
MA-PMT Efficiency and X-talk
~ 3% Cross-Talk:
~ 15% SPE Loss :
14th ICATPP, 25th September 2013, Como
Notes: 9 vs 8