## Slide 1
Responsabile Locale
M. Contalbrigo
L’Esperimento CLAS12 a JLab

## Slide 2
Towards the 12 GeV era
Attivita gruppo III
L.Pappalardo
2

## Slide 3
CLAS12 detector
Lumi up to
High polarized electron beams
H and D polarized target
Broad kinematic range
Very good PID
Towards the 12 GeV era
Attivita gruppo III
L.Pappalardo
3
Physics program:
Hadron spectroscopy
Nuclear effects in hadronization
Nucleon structure (TMDs, GPDs)

## Slide 4
Towards the 12 GeV era
Attivita gruppo III
L.Pappalardo
4

## Slide 5
The non-collinear structure of the nucleon
Sivers
worm-gears
Boer-Mulders
pretzelosity
helicity
transversity
momentum
Attivita gruppo III
L.Pappalardo
5
FF
TMDs depend on and
Describe correlations between and quark or nucleon spin (spin-orbit correlations)

## Slide 6
The non-collinear structure of the nucleon
Sivers
worm-gears
Boer-Mulders
pretzelosity
helicity
transversity
momentum
Attivita gruppo III
L.Pappalardo
6
TMDs depend on and
Describe correlations between and quark or nucleon spin (spin-orbit correlations)
Provide a 3-dim picture of the nucleon in momentum space (nucleon tomography)

## Slide 7
Ferrara group involved in exp. proposals
PAC39 (June 2012)

## Slide 8
The CLAS12 RICH
Notes: 8

## Slide 9
The CLAS12 RICH
Progetto Premiale CLASMED
Notes: 9

## Slide 10
RICH: GEANT4 simulations
Notes: 10

## Slide 11
✓ Mature and reliable technology
✓ Large Area (5x5 cm2)
✓ High packing density (89 %)
✓ 64 6x6 mm2 pixels cost effective device
✓ High sensitivity on visible towards UV light
✓ Fast response
The only option to keep the schedule is the use
of multi-anode photomultipliers (we consider the
promising SiPM technology as the alternative)
Torus fringe fields in the
RICH photo-detector area
Photon Detectors: MA-PMT
Notes: Direzione campo magnetico ? E fringe fields

## Slide 12
Front-End Electronics
PMTs
ADAPTER BOARD
ASIC BOARD
FPGA BOARD
FPGA board (Jlab)
ASICs board (Ferrara)

## Slide 13
RICH: optical characterization of aerogel
Absorp. length
Scattering length
Notes: 13

## Slide 14
Measured by prisma method:
fit
MC
Expected value from density:
n2(400nm) = 1+0.438r
n(400nm) = 1.0492
Measured by prototype with optical filters:
Aerogel Chromatic Dispersion
Notes: Qual e’ il packing factor di HERMES ?
Refraction or refractive ?

## Slide 15
p=8 GeV/c
K (x40)
p
P (x40)
Clear hadron separation up to the CLAS12 maximum momentum
Ring Coverage ~ 80%
p=6 GeV/c
P (GeV/c) | sc (mrad) | sq (mrad) | ns
6 | 306.5 | 1.41 | 6.9
7 | 306.8 | 1.40 | 4.7
8 | 307.6 | 1.40 | 3.9
qC (mrad)
qC (mrad)
Radiator
H8500
beam
1m gap
8 GeV
beam
Aerogel: n=1.05
2cm thickness
Proximity Focusing RICH Prototype

## Slide 16
Activity with SiPM
SiPM might offer a cheaper and more efficient solution, expecially in a longer time perspective for other sectors
Notes: 16

## Slide 17
SiPM Characterization
Air cooling
Humidity and Temperature
sensors
Black box
Fast
Pre-amplifier
Peltier Cell
SiPM
N2 inlet
Break-down
Voltage
Working
point
Notes: 17

## Slide 18
SiPM Characterization
Notes: 18

## Slide 19
SiPM Prototype Results
Notes: 19

## Slide 20
✔ Project Premiale CLASMED
✔ HadronPhysics3: 3D-Mom
✔ DOE funded R&D for a future EIC: SiPM
✔ HPH: TMD-next and next-DIS (submitted)
Ferrara in 2015:
✔ RICH Project Coordination
✔ Front-End electronics prototyping and production
✔ Aerogel characterization and acceptance tests
✔ SiPM applications for RICH and Medical Imaging
RICH Landscape
GOAL: 1st sector ready by the end of 2016

## Slide 21
Il gruppo di Ferrara @ JLAB12
Responsabilita’:
M. Contalbrigo: responsabile locale di Jlab12
M. Contalbrigo responsabile progetto RICH
M. Contalbrigo & L.P. Co-spokesperson di diverse proposte di esperimento (PAC34,37,38,39)
Contributi principali:
RICH detector (Contalbrigo, A. Movsysian, Luca Barion)
- Simulazioni GEANT4 e codice di ricostruzione
- Realizzazione prototipi e test su fascio (CERN, LNF)
- Caratterizzazione proprieta’ ottiche radiatore (@ SILAB)
- SIPM Applications on RICH and Medical Imaging
Configurazione magnetica per HD_Ice target (M. Contalbrigo, M. Statera)
Studi di fattibilita’ e proiezioni dei risultati per proposte di esperimenti con CLAS12 (M. Contalbrigo, Luciano Pappalardo)