## Slide 1
SiPM
Threshold
Gas Cherenkov
January 2013: selected by INFN in the short list to be presented to
the Italian Ministry for dedicated 2.2 MEuro funding
December 2012: extensive test-beam at CERN with hadron beams
Beam
few % of kaons
RICH Detector
K
p
Dt with trigger
X [mm]
Y [mm]
ADC channels
Beam Profile
Beam ID
Cherenkov Ring Profile

## Slide 2
Aerogel n=1.05, Beam P = 6 and 8 GeV/c
RICH Prototype: Direct Light
Kaon
(x 77)
Pion
s [mrad]
N p.e.
Radius [mm]
8 GeV/c
Expected working point
DATA & MC consistent
law
> 4s
separation
at 6 GeV/c
Only PMT w/o UV window (50 %)
> 3s separation at 8 GeV/c with not-UV PMT

## Slide 3
Aerogel improvement in Time
Aerogel n=1.05, Beam P = 6 GeV/c
RICH Prototype: Reflected Light
N p.e.
HTCC
mirror
Mirror +
Aerogel
60% p.e. yield loss matches the requirements
Mirror + Aerogel
Mirror + Aerogel
Mirror only
Mirror only