## Slide 1
Attività Gruppo III
Paolo Lenisa
Consiglio di Sezione
Ferrara, 5 Luglio 2018

## Slide 2
La fisica del Gruppo III a Ferrara
JLAB12 (R.L. & R.N: Marco Contalbrigo)
- spin physics
- transverse momentum phenomena (TMDs) & 3D imaging
- GPDs, EM Form Factors
JEDI (R.L. & R.N. Paolo Lenisa)
- EDM, tests of fundamental symmetries

## Slide 3
Responsabile Locale e Nazionale
M. Contalbrigo
Collaborazione JLab12

## Slide 4
Towards the 12 GeV era

## Slide 5
CLAS12 detector
Lumi up to
High polarized electron beams
H and D polarized target
Broad kinematic range
Very good PID
Towards the 12 GeV era
5
Physics program:
Hadron spectroscopy
Nuclear effects in hadronization
Nucleon structure (TMDs, GPDs)

## Slide 6
Towards the 12 GeV era
6
Investigating QCD spin-orbit
and dynamic effects

## Slide 7
The CLAS12 RICH
INSTITUTIONS
INFN (Italy) Bari, Ferrara, Genova, L.Frascati, Roma/ISS
Jefferson Lab (Newport News, USA)
Argonne National Lab (Argonne, USA)
Duquesne University (Pittsburgh, USA)
George Washington University (USA)
Glasgow University (Glasgow, UK)
J. Gutenberg Universitat Mainz (Mainz, Germany)
Kyungpook National University, (Daegu, Korea)
University of Connecticut (Storrs, USA)
UTFSM (Valparaiso, Chile)
Notes: 7

## Slide 8
The CLAS12 RICH
Notes: 8

## Slide 9
The CLAS12 RICH
First module assembled in November 2017
Notes: 9

## Slide 10
RICH: Online Peformance
Pedestal rms at the limit of sensitivity (1 DAC)
-- before
-- after
Dt = meas. time – reconstructed time
Reconstructed time:
Event start time + particle path
In line with 1 ns resolution expectation
RICH timing
Single hits (photons) time walk correction
RICH stability
Pedestal ~ 2 months stability
Pedestal rms at limit of sensitivity (1 DAC)
Notes: 10

## Slide 11
RICH: Event Reconstruction
Notes: 11

## Slide 12
Front-End Electronics
PMTs
ADAPTER BOARD
ASIC BOARD
FPGA BOARD
FPGA board (Jlab)
ASICs board (Ferrara)
Compact and modular electronics to readout multi-anode PMTs
Several groups (JLab DG) and experiments (Gluex, EIC, SOLID) manifest interest for using it

## Slide 13
MC
mRICH2 Test (EIC R&D)
Test of a modular RICH using fresnel lens to
- focalize the ring
- reducing gap size to ~ 20 cm
- center the ring
beam

## Slide 14
Activity with SiPM
SiPM might offer a cheaper and more efficient solution, expecially in a longer time perspective for other sectors
Cooling plate
Machined @ Ferrara
Front-end electronics
designed @ Ferrara
Notes: 14

## Slide 15
  ✔ Project Premiale CLASMED
✔ Gluex DIRC (at Jlab Hall-D) using RICH electronics design
✔ DOE funded R&D for a future EIC
EIC PID Consortium using RICH electronics for the prototype stage
Ferrara in 2017:
✔ RICH & CLASMED: M. Contalbrigo Project Coordinator
✔ Particle ID studies at CLAS12
✔ Start construction of the second RICH sector
✔ Evaluate the SiPM option for Cherenkov applications
✔ SiPM applications for RICH and Medical Imaging
RICH Landscape
GOAL: 2nd sector ready for the polarized physics runs in fall 2020

## Slide 16: HD-ICE TRANSVERSE TARGET (L. Barion, G. Ciullo, M. Contalbrigo, P.L., M. Statera, F. Spizzo)
superconducting
torus
superconducting
solenoid
target
polarized
e- beam
tracking solenoid
design field 5 T longitudinal
HDice target working field 2 T
4K L-He cryostat
diameter 440 to 942 mm
length 1500 mm
HDice Transverse Target:
high polarization
f 25 mm – Length 25 mm
transverse field 0.5-1.25 T
CLAS12
HD-ice
polarized

## Slide 17: BULK TRANSVERSE MAGNET
bulk cylinder
MgB2
longitudinal shield
transverse magnetization
By
Bz
features
no current leads
Cu free
self tuning
few mm thickness
external magnet
for magnetization
existing sample (courtesy of G. Giunchi)
diameter 39 mm
length 90 mm
thickness ~1 mm

## Slide 18: FERRARA SETUP
coldhead
turbo
support (316L)
Al chamber
support (nylon)
resistive coil
pole
(ARMCO)
iron yoke
chamber (316L)
resistive magnet
transverse field
custom poles
max field about 1 T
vacuum chamber (316L and Al)
liquid free cryostat
controlled cylinder temperature
minimum temperature <20 K
DB/B < 2 10-3
(on cylinder volume)
cylinder

## Slide 20: MAGNETIZATION and SHIELDING
Caratterizzazione Campo
verso temperatura
Utile per definire modello
ed estrapolare a
condizioni di esperimento

## Slide 21
Il gruppo di Ferrara @ JLAB12
Responsabilita’:
M. C.: responsabile locale e nazionale di JLab12
M. C. responsabile progetto RICH
M. C. & L.P. Co-spokesperson di diverse proposte di esperimento (PAC34,37,38,39)
Contributi principali:
RICH detector (M.C., A. Movsysian, L. Barion, A. Scarabotto)
- Caratterizzazione proprieta’ ottiche radiatore aerogel (@ SILAB)
- Test su fascio elettronica di lettura (Fermilab)
- Stress test componenti (stabilita’ verso temperatura, umidita’. radiazione..)
- SIPM Applications on RICH and Medical Imaging
Configurazione magnetica per HD_Ice target (M.C., G. Ciullo, L. Barion, M. Statera)
Analisi dati (M.C., A. Movsisyan)

## Slide 22
JEDI
Jülich Electric Dipole moment Investigations

## Slide 23
JEDI (2018-2022)
Polarization technology for precision experiments.
Search for electric dipole-moments in storage rings:
  First measurement of deuteron – EDM at COSY.
  Production of Technical Design Report for a first generation machine.
In addition:
  Time Reversal Invariance Test at COSY
  Longitudinal spin-filtering test at COSY (?)
  Internal target at LHCb (-> CSN1) ?

## Slide 24
EDM of fundamental particles
Permanent EDMs violate P and T
Assuming CPT to hold, CP is violated also
Elementary particles (including hadrons) have a definite partiy and cannot have EDM
Unless P and T reversal are violated
s: spin
m: magnetic dipole moment
d: electric dipole moment

## Slide 25
EDM: upper limits

## Slide 26
PROCEDURE
EDM of charged particles: use of storage rings
Search for time development of vertical polarization
Align spin along momentum ( freeze horizontal spin precession)
Place particles in a storage ring

## Slide 27
Requirements
POLARIMETER
  The sensitivity to polarization must by large (0.5).
  The efficiency of using the beam must be high (> 1%).
  Systematic errors must be managed (< 10‒6).
SYSTEMATIC ERROR PLAN
LARGE ELECTRIC FIELDS (E=10 MV/m).
POLARIZED BEAM
  Polarization must last a long time (> 1000 s).
  Polarization must remain parallel to velocity.

## Slide 28
COoler SYnchrotron (FZ-Jülich, GERMANY)
COSY provides polarized protons and deuterons with p = 0.3–3.7 GeV/c
Ideal starting point for charged particles EDM search

## Slide 29
Experimental tests at COSY
Inject and accelerate polarized deuterons to 1 GeV/c

## Slide 30
Inject and accelerate polarized deuterons to 1 GeV/c
Flip spin in the horizontal plane with help of solenoid
Experimental tests at COSY

## Slide 31
Inject and accelerate polarized deuterons to 1 GeV/c
Flip spin in the horizontal plane with help of solenoid
Extract slowly (100 s) beam on target
Measure asymmetry and determine spin precession
Experimental tests at COSY

## Slide 32
Beam moves toward thick target continuous extraction
Elastic scattering (large cross section for d-C)
EDDA beam polarimeter
beam
Analyzing power
ASYMMETRIES
VERTICAL polarization
Analyzing power
HORIZONTAL polarization

## Slide 33
Spin-precession measurement

## Slide 34
Results: spin coherence time
Unbunched beam:
  Dp/p=10-5->Dg/g=2x10-6, Trev=10-6s
  Decoherence after < 1s
Bunching eliminates 1st order effect in Dp/p:
  SCT t = 20 s
Short Spin coherence time:
Betatron oscillations cause variation of orbit length
  Correction wit sextupoles
SCT t > 1000 s
Long Spin coherence time:

## Slide 35
The goal:
first direct measuerement of deuteron EDM
with RF-technique
Pure magnetic ring (existing machines)
Problem: precession caused by magnetic moment:.
- 50 % of time longitudinal polarization || to momentum
- 50 % of time is anti-||
E* in particle rest frame tilts spin (due to EDM) up and down
 No net EDM effect

## Slide 36
Pure magnetic ring (existing machines)
Problem: precession caused by magnetic moment:.
- 50 % of time longitudinal polarization || to momentum
- 50 % of time is anti-||
E* in particle rest frame tilts spin (due to EDM) up and down
 No net EDM effect
Solution; use of resonant „magic“ Wien-filter in ring (E+vxB=0)
E*=0  particle trajectory not affected
B*0  magnetic moment is influenced
 net EDM effect can be observed!
The goal:
first direct measuerement of deuteron EDM
with RF-technique

## Slide 37
Magic RF Wien filter
Avoids coherent betatron oscillations of beam. .
First direct measurement at COSY.
 ER= - g x By „Magic RF Wien Filter“ no Lorentz force
First prototype successful commissioning in 2015
New „wave-guide“ device designed and construced: test started June 2017
GOAL: 1st ever measurement of deuteron EDM before 2021

## Slide 38: INFN contribution: development of a new high-efficieny polarimeter

## Slide 39: Development of SiPM based readout system (L. Barion, S. Basile, R. Malaguti, P.L.)

## Slide 40
Complementary measurement:
Test of Time Reversal Invariance at COSY
EDM: test T and P symmetries (T-odd and P-odd)
TRIC: fdirect test of T-symmetry (T-odd P-even)
- Direct tests of Time Reversal Invariance: experimental situation
 Proposed measurement

## Slide 41
Concept of the experiment
Time reversal b) equivalent to:
- inversion of proton beam polarization c)
- inversion of deuteron target polarization d)
Vector polarized proton beam vs
Tensor polarized deuteron target
sensible to Ay,xz
Different cross sections for a) vs c) or d) ↦ time reversal violation

## Slide 42
Measurement at COSY
PAX installation at COSY:
Atomic beam source (d↑ target)
Openable storage cell
Si-detector (beam polarimetry)
In addition:
- Sensitive beam current monitor
Measurement:
Comparison of beam-lifetimes
Different spin configurations

## Slide 43
INFN contribution:
design and construction of the beam/target polarimeter and the openable storage cell

## Slide 44: Quadrants assembly (A. Kononov)

## Slide 45: Design and realization of an openable storage cell (S. Sguerzanti, V. Carassiti)

## Slide 46: Detector assembly (S. Sguerzanti, V. Carassiti. A. Kononov, G. Ciullo)

## Slide 47: Polarized target and polarimeter (G. Ciullo, A. Pesce)
ABS
Breit-Rabi
polarimeter
Last achievement
  Target compatible for H and D running
    (Without vacuum breaks!)

## Slide 48
Successful commissioning
(S. Dymov)
p-d identification
Polarization measurement (Ay)
Polarization along the cell

## Slide 49
Responsibilities + external funding
EDM
Co-Spokesperson: P.L.
SCT data analysis: S. Dymov, D. De Rosa
New polarimeter: S. Basile, L. Barion, V. Carassiti, P.L.
Control system for RF-Wien filter: G. Tagliente
EXTERNAL FINANCES:
ERC-Advanced Grant: srEDM
  Total sum: 2.4 Meuro
  Duration: 5 Years
  Consortium:
    FZ-Juelich – prof. H. Stroeher (PI)
    RWTH Aachen – prof. J. Praetz
    University of Ferrara – prof. P. Lenisa
New application: H2020 – SPIN for FAIR
  Principal Investigator: P. L.
  Host Institution: FZ-Juelich
TRIC
Management: P.L.
Polarized target and polarimeter: G. Ciullo, A. Pesce
Detector: V. Carassiti, S. Dymov, A. Kononov, P.L.
Interlock and slow control: G. Tagliente

## Slide 50
Name | JEDI | JLAB | CC3M
S. Basile (dottorando) | 100 |  | 
S. Bertelli (RTD-A) | 100 |  | 
G. Ciullo (Staff) | 70 | 20 | 
A. Drago (Staff) |  | 20 | 
M. Contalbrigo (Staff) | 20 | 50 | 
S. Dymov (Post Doc) | 100 |  | 
A. Kononov (dottorando) | 100 |  | 
P. Lenisa (Staff) | 75 | 20 | 5
L. Pappalardo (RTD-A) |  | 20 | 
A. Pesce (Post Doc) | 100 |  | 
F. Spizzo (Staff) | 20 | 80 | 
V. Carassiti (staff) | 30 |  | 
A. Cotta Ramusino (staff) | 10 |  | 
Total | 705 | 210 | 
Manpower e richieste fianziarie
Missioni | 60 k€
Consumi | 40 k€
TOTALE | 100 k€
Richieste finanziarie PAX
Missioni | 60 k€
Trasp. | 5 k€
Inv. | 10 k€
Consumi | 15 k€
Apparati | 100 k€
TOTALE | 190 k€
Richieste finanziarie JLab12

## Slide 51
Physics goals:
  Large-x gluon, antiquark and heavy-quark content in the nucleon and nucleus.
  Dynamics and spin of gluons in (un)polarised nucleons
  Heavy-ion collisions towards large rapidities
Other activities:
Collaboration with CSN1
“Polarized internal gas target for LHCb”
(Possible) timeline:
  Design and realization of an openable storage cell for LHC (unpolarized gas)
    Installation in 2020-21
  Design and construction of a polarized target
    Installation in 2024-25

## Slide 52: SPIN 2018 23rd International Spin-Physics Symposium Ferrara, 10-14 September 2018

## Slide 53
Installation in the COSY ring